## Slide 1: Radio Interferometry - Imaging
Urvashi Rau
National Radio Astronomy Observatory, Socorro, NM, USA
Notes: 1

## Slide 2: Image Formation
Multi-stage process. Linear. There are weblogs showing human readable information to use for diagnostics (numerical as well as procedural failures). QA system. Ability to 'restore' to any state for optimized re-processing. Standarized calibrated data and output image products for the archive.
Notes: 2

## Slide 3: An interferometer is an indirect imaging device
2D Fourier transform :
Image = sum of cosine 'fringes'.
b
Young’s double slit experiment
Each antenna-pair measures the
parameters of one 'fringe'.
Measured Fringe Parameters :
Amplitude, Phase
Orientation, Wavelength
Notes: 3

## Slide 4: Measurements
x
Measure the spatial correlation of the E-field incident at each pair of antennas
Notes: 4

## Slide 5: Measurements
x
Measure the spatial correlation of the E-field incident at each pair of antennas
Parameters of a Fringe :
Amplitude, Phase :
is a complex number.
Orientation, Wavelength :
(geometry)
Notes: 5

## Slide 6: Measurements
Measure the spatial correlation of the E-field incident at each pair of antennas
UV plane : Spatial Frequency Domain
Combine measurements from multiple ‘baselines’ (antenna pairs) on a UV grid.
Take the inverse Fourier Transform to construct an image.
Notes: 6

## Slide 7: Spatial Frequency (uv) coverage + Observed Image
Image of the sky
using 2 antennas
Notes: 7

## Slide 8: Spatial Frequency (uv) coverage + Observed Image
Image of the sky
using 5 antennas
Notes: 8

## Slide 9: Spatial Frequency (uv) coverage + Observed Image
Image of the sky
using 11 antennas
Notes: 9

## Slide 10: Spatial Frequency (uv) coverage + Observed Image
Image of the sky
using 27 antennas
Notes: 10

## Slide 11: Spatial Frequency (uv) coverage + Observed Image
Image of the sky
using 27 antennas
over 2 hours
'Earth Rotation Synthesis'
Notes: 11

## Slide 12: Spatial Frequency (uv) coverage + Observed Image
Image of the sky
using 27 antennas
over 4 hours
'Earth Rotation Synthesis'
Notes: 12

## Slide 13: Spatial Frequency (uv) coverage + Observed Image
Image of the sky
using 27 antennas
over 4 hours, 2 freqs
'Multi-Frequency Synthesis'
Notes: 13

## Slide 14: Spatial Frequency (uv) coverage + Observed Image
Image of the sky
using 27 antennas
over 4 hours, 3 freqs
'Multi-Frequency Synthesis'
Notes: 14

## Slide 15: Image Reconstruction
Multi-stage process. Linear. There are weblogs showing human readable information to use for diagnostics (numerical as well as procedural failures). QA system. Ability to 'restore' to any state for optimized re-processing. Standarized calibrated data and output image products for the archive.
Notes: 15

## Slide 16
Basic Imaging :
Narrow-frequency range, Small region of the sky
=> The 2D Fourier Transform relations hold
=> Convolution and deconvolution
Wide-Band Imaging :
=> Sky and instrument change across frequency range
Wide-Field Imaging
=> The 2D Fourier Transform relation breaks
Mosaic Imaging
=> Image an area larger than what each antenna can see.
Imaging with modern instruments
Notes: 16

## Slide 17: Image formed by an interferometer : Convolution Equation
You have measured the
Convolution of the True Sky
with the instrumental PSF.
PSF = Point Spread Function
Inverse Fourier transform
of the UV-coverage
Recovering True Sky = DE-convolution
” Model Fitting “
Parameterize the sky structure
Iteratively build a “model” of the structure by minimizing Chi-square
Notes: 17

## Slide 18: Reconstruction = Imaging + Deconvolution
Data = Incomplete set of samples of the true signal
Image Reconstruction = Fit a model (of the sky) to the data
Notes: 18

## Slide 19: Deconvolution – Hogbom CLEAN
Sky Model : List of delta-functions
(1) Construct the observed (dirty) image and PSF
(2) Search for the location of peak amplitude.
(3) Add a delta-function of this peak/location to the model
(4) Subtract the contribution of this component
from the dirty image - a scaled/shifted copy of the PSF
Repeat steps (2), (3), (4) until a stopping criterion is reached.
(5) Restore : Smooth the model with a 'clean beam' and
add residuals
The CLEAN algorithm can be formally derived as a model-fitting problem
– model parameters : locations and amplitudes of delta functions
– solution process : minimization via an iterative steepest-descent algorithm
( method of successive approximation )
Notes: 19

## Slide 20: Deconvolution – Comparison of Algorithms
CLEAN MEM MS-CLEAN ASP
Point source model
Point source model
with a smoothness
constraint
Multi-Scale model
with a fixed set of
scale sizes
Multi-Scale model
with adaptive best-fit
scale per component
Notes: 20

## Slide 21: Deconvolution – Comparison of Algorithms
Point source model
Point source model
with a smoothness
constraint
Multi-Scale model
with a fixed set of
scale sizes
Multi-Scale model
with adaptive best-fit
scale per component
CLEAN MEM MS-CLEAN ASP
Notes: 21

## Slide 22
Basic Imaging :
Narrow-frequency range, Small region of the sky
=> The 2D Fourier Transform relations hold
=> Convolution and deconvolution
Wide-Band Imaging :
=> Sky and instrument change across frequency range
Wide-Field Imaging
=> The 2D Fourier Transform relation breaks
Mosaic Imaging
=> Image an area larger than what each antenna can see.
Imaging with modern instruments
Notes: 22

## Slide 23: Wide-band Imaging – Sensitivity and Multi-Frequency Synthesis
Frequency Range : (1 – 2 GHz) (4 – 8 GHz) (8 – 12 GHz)
Bandwidth : 1 GHz 4 GHz 4 GHz
Bandwidth Ratio : 2 : 1 2 : 1 1.5 : 1
Fractional Bandwidth : 66% 66% 40%
1.0 - 2.0 GHz
1.0 GHz
1.5 GHz
2.0 GHz
UV-coverage / imaging properties change with frequency
=> combine
multi-frequency
measurements
during imaging
Sky Brightness can also change with frequency → model intensity and spectrum
Notes: 23

## Slide 24: Spectral Cube (vs) MFS imaging
3 flat-spectrum sources + 1 steep-spectrum source ( 1-2 GHz VLA observation )
Images made at different frequencies ( limited to narrow-band sensitivity )
Add all single-frequency
images (after smoothing
to a low resolution)
Use wideband
UV-coverage,
but ignore spectrum
( MFS, nterms=1)
Use wideband UV-coverage
+ Model and fit for spectra too
( MT-MFS, nterms > 1 )
Output : Intensity and Spectral-Index
2 GHz
1 GHz
Notes: 24

## Slide 25: Wide-Field Imaging – W-term
The ' w ' of a baseline can be large, away from the image phase center
The ' n ' for a source can be large, away from the image phase center
There are algorithms to account for this : Image Faceting, W-Projection.
Notes: 25

## Slide 26: Wide-Field Imaging – W-term
The ' w ' of a baseline can be large, away from the image phase center
The ' n ' for a source can be large, away from the image phase center
2D Imaging
Facet Imaging
W-Projection
Notes: 26

## Slide 27: Wide-Field Imaging – Primary Beams
Each antenna has a limited field of view => Primary Beam (gain) pattern
=> Sky is (approx) multiplied by PB, before being sampled by the interferometer
The antenna field of view :
D = antenna diameter
Compare with angular
resolution of the
interferometer :
But, in reality, P changes with time, freq, pol and antenna....
=> Ignoring such effects limits dynamic range to 10^4
=> More-accurate method to account for this : A-Projection
Notes: 27

## Slide 28: Wide-field Imaging -- Mosaics
Combine data from multiple pointings to form one large image.
Combine pointings either
before or after deconvolution.
Stitched mosaic :
-- Deconvolve each
pointing separately
-- Divide each image by PB
-- Combine as a weighted avg
Joint mosaic :
-- Combine observed images as a
weighted average
(or)
Grid all data onto one UV-grid,
and then iFFT
-- Deconvolve as one large image
One Pointing sees only part of the source
Notes: 28

## Slide 29: Wide-field Imaging -- Mosaics
Combine data from multiple pointings to form one large image.
Combine pointings either
before or after deconvolution.
Stitched mosaic :
-- Deconvolve each
pointing separately
-- Divide each image by PB
-- Combine as a weighted avg
Joint mosaic :
-- Combine observed images as a
weighted average
(or)
Grid all data onto one UV-grid,
and then iFFT
-- Deconvolve as one large image
Two Pointings see more.....
Notes: 29

## Slide 30: Wide-field Imaging -- Mosaics
Combine data from multiple pointings to form one large image.
Combine pointings either
before or after deconvolution.
Stitched mosaic :
-- Deconvolve each
pointing separately
-- Divide each image by PB
-- Combine as a weighted avg
Joint mosaic :
-- Combine observed images as a
weighted average
(or)
Grid all data onto one UV-grid,
and then iFFT
-- Deconvolve as one large image
Use many pointings to cover the source with approximately uniform sensitivity
Notes: 30

## Slide 31: Data Analysis
Multi-stage process. Linear. There are weblogs showing human readable information to use for diagnostics (numerical as well as procedural failures). QA system. Ability to 'restore' to any state for optimized re-processing. Standarized calibrated data and output image products for the archive.
Notes: 31

## Slide 32: Data Analysis
The measured values are imperfect and incomplete
x
Notes: 32

## Slide 33: Data Analysis
The measured values are imperfect and incomplete
x
Notes: 33

## Slide 34: Data Analysis
The measured values are imperfect and incomplete
Flagging
Problem : Radio Frequency Interference (RFI)
Solution : Identify and discard corrupted data samples.
Notes: 34

## Slide 35: Data Analysis
The measured values are imperfect and incomplete
Flagging
Calibration
Problem : Radio Frequency Interference (RFI)
Solution : Identify and discard corrupted data samples.
Problem : Antenna electronics introduce complex gains
Solution : Numerically solve for antenna gains and apply corrections
- Observe a source where is known
- Use information from all ij to solve for
- Divide out from target data
Notes: 35

## Slide 36: Data Analysis
The measured values are imperfect and incomplete
Flagging
Calibration
Imaging
Problem : Radio Frequency Interference (RFI)
Solution : Identify and discard corrupted data samples.
Problem : Sampling of the 2D Fourier Transform is incomplete
( only N(N-1)/2 measurements per timestep and frequency channel )
Solution : Fit a model of the sky brightness to the measured data.
Problem : Antenna electronics introduce complex gains
Solution : Numerically solve for antenna gains and apply corrections
Notes: 36

## Slide 37: Data Analysis - Pipelines
Online flags
Auto-flag Cal
Tsys flag
Calculate Tsys
WVR correction
Flag low gains
Set Cal Model
Import data
from Archive
Bandpass Cal
Flag outliers
Flux Cal
Flag outliers
Time Cal
Apply solutions
Ant Pos Corr
Image Calibrator
Check size
Export Data/Images
To Archive
Flagging
Calibration
Imaging
Split target data
Continuum Sub
Image Continuum
Image Spectral
Quality Assurance
Export Images
to Archive
Observe
Data
Quality Assurance
Autoflag target
Web-Logs of results, diagnostic plots, QA metrics
Notes: 37

## Slide 38: Build your own Interferometer !
Multi-stage process. Linear. There are weblogs showing human readable information to use for diagnostics (numerical as well as procedural failures). QA system. Ability to 'restore' to any state for optimized re-processing. Standarized calibrated data and output image products for the archive.
Notes: 38

## Slide 39: Build Your Own Interferometer !
Multi-stage process. Linear. There are weblogs showing human readable information to use for diagnostics (numerical as well as procedural failures). QA system. Ability to 'restore' to any state for optimized re-processing. Standarized calibrated data and output image products for the archive.
( https://github.com/urvashirau/ImagingSimulator )
Notes: 39

## Slide 40: Build Your Own Interferometer !
Multi-stage process. Linear. There are weblogs showing human readable information to use for diagnostics (numerical as well as procedural failures). QA system. Ability to 'restore' to any state for optimized re-processing. Standarized calibrated data and output image products for the archive.
How does the antenna
layout and count affect
– UV-coverage
– Point Spread Function
Change relative orientation
of the array and the object
- Projection effects
Point sources versus
extended emission
- Spatial scales
- Point Spread Function
Effect of aperture Synthesis
Change time-ranges
Change bandwidth
Different weighting schemes
What features can be
emphasized ?
Effect of a compact versus
spread-out configuration
– Angular resolution
Notes: 40

## Slide 41: Questions ?
Multi-stage process. Linear. There are weblogs showing human readable information to use for diagnostics (numerical as well as procedural failures). QA system. Ability to 'restore' to any state for optimized re-processing. Standarized calibrated data and output image products for the archive.
Notes: 41

## Slide 42: Some points to remember …
How does an interferometer form an image ?
- Each antenna pair measures one 2D fringe.
Many antenna pairs => Fourier series
How do you get a model of the sky ?
- Solve the convolution equation via model-fitting algorithms like Clean
How do you make a raw image from interferometer data ?
- Bin (or resample) the visibility data onto a 2D grid, take a Fourier transform
What does the raw observed image represent ?
- Observed Sky is the convolution of the true sky and the PSF
Notes: 42

## Slide 43: Some points to remember …
What is calibration ?
- Use calibrator data to solve for antenna gains, apply them to target data
How does wide-band data affect the imaging process ?
- Increased sensitivity, but the imaging properties and sky change with frequency
What is an antenna primary beam and what is its effect on an image ?
- Antenna power pattern. It multiplies with the sky,before convolution with the PSF
What is the w-term problem ?
- 2D Fourier transform approximations are invalid far away from the image center
Notes: 43