Correcting for wide-band primary-beam effects
during imaging and deconvolution
color black { P_t }
color black { P_{%nu}}
color black {I^{obs} = sum_{%nu,t} I^{psf}_{%nu,t} * ( P_{%nu,t} cdot I^{sky}_{%nu,t}) }
Outline :
- Effects of primary-beams that vary with time and frequency
- Algorithms for classical Clean,
  A-Projection and wideband imaging
- Combining these algorithms to do wide-band primary-beam correction
- Examples
Urvashi Rau
Sanjay Bhatnagar
Kumar Golap
National Radio Astronomy Observatory
 Socorro, USA

---
Frequency Dependence of the Primary Beam
EVLA Primary Beams (simulated)
Average beam vs single-freq beams
Main Lobe
Sidelobes
Average Primary Beam
1.0 GHz
1.5 GHz
2.0 GHz
50%
90%
20%
Primary-Beam “Spectral Index” -->

---
Time-variability and Beam Squint
Primary Beams rotate on the sky ( effect of Alt-Az mounts )
   – Azimuthal asymmetry ( subreflector supports )
   – RR / LL Beam squint ( ~ 6% of HPBW )
   – Pointing errors ( 10 – 20 arcsec )
PB shape and Squint-Angle change (scale) with frequency
=> Direction and magnitude of time-variability of the PB change with frequency :
color black { P_{%nu,t}}
        Azimuth / Time
        Azimuth / Time
PB Gain
PB Gain

---
Effects on a continuum image (MFS) and sky spectrum
Continuum Image : Time and Frequency average of snapshot single-channel images.
Continuum sensitivity : Average PB is close to the PB at the middle frequency, but has no obvious 'null'.
Spectrum : A flat-spectrum source at the HPBW will acquire a spectral index of ~ -1.4, and pure MFS imaging (no spectral model) will have a dynamic-range limit of ~ 10^3
Time variability : 100% gain variation in sidelobes, few% gain variation in the main lobe
   – Image contains only the average, with a dynamic-range limit of ~ 10^4 to 10^5
Goal : Separate the instrumental time and frequency dependence from the continuum image
color black {I^{obs} = sum_{%nu,t} I^{psf}_{%nu,t} * ( P_{%nu,t} cdot I^{sky}_{%nu,t}) }
color black { {sum_{%nu} w_{%nu} cdot P_{%nu} cdot I_{%nu}} over {sum_{%nu} I_{%nu}} }
color black { I_{%nu} cdot P_{%nu} }

---
Effects on a continuum image - sensitivity
G55.7+3.4 : Galactic supernova remnant : 4 x 4 degree field-of-view from one EVLA pointing
 1 Jy total flux
 24 arcmin
(PB: 30 arcmin)
10 micro Jy RMS
{color black{ 1 %sigma}}
{color black{ 4 %sigma}}

---
Effects on a continuum image – PB time/freq variability
Imaging :
- W-Projection
   – correct for wide-field w-term effects
Artifacts due to PB spectrum and time-variability
60 – 85 micro Jy
Artifacts due to
 PB-spectrum
~ 90 micro Jy
RMS : 11 micro Jy
Artifacts due to
 PB-spectrum
~ 30 micro Jy
RMS : 11 micro Jy
Artifacts due to PB spectrum and time-variability
    50 micro Jy
- MS-MFS (2 terms)
  – model sky spectrum and (partially) PB spectrum
- MS starting model
  – to prevent ambiguity in the spectral model at very large scales
No PB-Correction yet....

---
Effects on a continuum image – PB time/freq variability
Examples from Frazer Owen :
(2) : Artificial steepening of spectral index well-within the HPBW of the primary-beam
   Abell 2256 : Intensity-weighted spectral-index (red : steeper)
(1) : Time-variability artifacts well within the HPBW
        3C465 : Wide-band continuum image
Image from
Frazer Owen
(NRAO)
~ 70% of PB
~70% of PB
~ 70% of PB at L-Band : ~ 8 arcmin from the pointing center

---
Algorithm Recap. : Major cycle (gridding convolution functions)
Image-Reconstruction : Major cycles (gridding/de-gridding) and minor cycles (deconvolution)
– Classical Imaging (FT) : Use a prolate-spheroidal function
       – Divide gridded image by F(prolate-spheroidal) before the minor cycle.
color black { I^{sky} = {F sum_{ij} A * V_{ij} } over {F(A)} }
color black { A_{ij} = E_i * E_j^{{}*{}} = F( P_{ij} ) } color black { P^{-1} cdot P cdot I^{sky} ~=~ F sum_{ij} A^{-1}_{ij} * A_{ij} * V_{ij} ~=~ {F sum_{ij} A^{{}*{}}_{ij} * A_{ij} * V_{ij} } over {abs{F sum_{ij} A^{{}*{}}_{ij} * A_{ij} }} ~=~ {F sum_{ij} A^{{}*{}}_{ij} * A_{ij} * V_{ij}} over {P_{avg}^2} } color black { P_{avg} } color black { I^{sky} cdot P_{avg} } color black { P_{avg} } color black { P_{avg}^2 } color black { I^{sky} } color black { P^{-1} cdot ( I^{psf} * (P cdot I^{sky})) } color black { I^{psf} = %delta }
– A-Projection : Use the complex-conjugate of the convolution of the aperture-illumination-functions of two antennas
      – Visibility-domain : correct for aperture-domain phase-terms ( pointing offset == phase-gradient) – Image-domain : correct for average amplitude effects ( rotational average )
   – Flat sky : Divide by ; Minor cycle ; Predict directly. [only for ]
   – Flat noise : Divide by ; Minor cycle ; Divide by before prediction.

---
Algorithm Recap. : Minor cycle (deconvolution and image-model)
Image-Reconstruction : Major cycles (gridding/de-gridding) and minor cycles (deconvolution)
– Cube Clean : Reconstruct each channel independently ( grid each channel separately )
        Calculate continuum image and spectra from output. fit power-law
  (single-channel uv-coverage/sensitivity, resolution of lowest frequency, f-o-v of highest frequency)
color black { I_{cont} = sum_{%nu} I_{%nu} ~,~ I_{alpha} = {} }
color black { I_%nu = sum_{t} C_{t} {left({%nu - %nu_{ref}}over{%nu_{ref}}right)^t} = sum_{t} C_{t} w_{%nu}^t } color black { C_{i} } color black { %chi^2 } color black { I^{model}_{%nu} = I^{sky}_{%nu} cdot P_{avg,%nu} } color black { P_{avg,%nu} } color black { I_{cont} = C_0 ~,~ I_{alpha} = C_1/C_0 }
– Wide-band Clean : Grid all channels together (Multi-Frequency Synthesis)
        MT-MFS : Reconstruct continuum intensity and spectrum simultaneously.
        Calculate from Taylor-weighted residuals by solving normal-equations ( - minimization ) Interpret Taylor-coefficients
        (broad-band uv-coverage/sensitivity, resolution of ~highest frequency, f-o-v of ~middle frequency)
Image Restoration : If the model represents , divide out for flat-sky model

---
Combining FT, A-Proj, Cube, MT-MFS for wide-band PB-correction
(1) FT or A-Proj (flat-noise) with Cube gridding + Cube cleaning + per-channel PB-division
color black { I^{sky} = {I^{model}_{%nu}} over { P_{%nu}} }
color black { I^{dirty}_{%nu} = {P_{%nu}^{{}*{}} cdot P_{%nu} cdot I^{sky}_{%nu}} over {abs{P_{%nu} }} }
color black { I^{model}_{%nu} = I^{sky}_{%nu} cdot P_{%nu} }
color black { I^{model}_{%nu} = sum_t w_{%nu}^t cdot I^{sky cdot PB}_{t} } color black { left( I^{sky}_{t=0} , I^{sky}_{t=1} ,I^{sky}_{t=2}, ... right) = {left( I^{sky cdot PB}_{t=0} , I^{sky cdot PB}_{t=1} ,I^{sky cdot PB}_{t=2}, ... right) } over { {left( P_{t=0} , P_{t=1} ,P_{t=2}, ... right) } } } color black { P_{%nu} }
(2) FT gridding + MT-MFS deconvolution + post-deconvolution wideband PB-correction
        (minor cycle sees spectrum)
color black { I^{dirty}_{%nu} = {P_{%nu}^{{}*{}} cdot P_{%nu} cdot I^{sky}_{%nu}} over {abs{P_{%nu}^2 }} } color black { I^{dirty}_{t} = { sum_{%nu} w_{%nu}^t I^{dirty}_{%nu} } } color black { I^{model}_{%nu} = sum_t w_{%nu}^t cdot I^{sky}_{t} }
(3) A-Proj (flat-sky) with Cube gridding + Construct MT-MFS residuals + MT-MFS deconvolution
    (remove PB frequency-dependence during gridding) (minor cycle sees only sky spectrum)
        – (1) and (3) require Cube gridding => expensive (memory and computing).
        – (2) sees PB spectrum => requires higher-order terms in the minor cycle + ignores time-variations
        – (3) uses flat-sky normalization => requires good PSF

---
Combining FT, A-Proj, Cube, MT-MFS for wide-band PB-correction
color black { I^{dirty}_t = {sum_{%nu} w_{%nu}^t cdot P_{%nu(conj)}^{{}*{}} cdot P_{%nu} cdot I^{sky}_{%nu}} over {abs{P_{ref} }} ~~ where ~~ P^2_{ref} approx P_{%nu(conj)}^{{}*{}} cdot P_{%nu} } color black { I^{model}_{%nu} = P_{ref} cdot I^{sky}_{%nu_{ref}} left( %nu over %nu_{ref} right)^{%alpha^{sky}}}
(5) Wide-Band A-Projection for MFS gridding (flat-noise) + MT-MFS deconvolution
    (remove PB frequency-dependence during gridding) (minor cycle sees only sky spectrum)
      - Use frequency-conjugate beams during A-Projection gridding to convert all beams to almost the same size/shape, so that there is no frequency-dependence left.
color black { I^{dirty}_t = {sum_{%nu} w_{%nu}^t cdot P_{%nu}^{{}*{}} cdot P_{%nu} cdot I^{sky}_{%nu}} over {abs{sum_{%nu} P_{%nu} }} } color black { I^{model}_{%nu} = P_{avg} cdot I^{sky}_{%nu_{ref}} left( %nu over %nu_{ref} right)^{%alpha^{sky} + 2 %alpha^{PB}}} color black { P_{%nu}^2 }
(4) A-Projection for MFS gridding (flat-noise) + MT-MFS deconvolution
 ( divide by avg PB, cannot remove frequency-dependence ) (minor cycle sees spectrum)
        => needs more higher-order terms....

---
Using frequency-conjugate PBs during gridding
color black { P(%nu) }
color black { P(%nu_{conj}) }
Multiply each with
such that the product has a flat spectrum :
color black { P(%nu) cdot P(%nu_{conj}) approx P(%nu_{ref}) }
color blue { P(%nu) }
color green { P(%nu) cdot P(%nu_{conj}) }
color black { {%nu} } color black {{%nu_{ref}} } color black { %nu_{conj} }
PB Gain

---
Example with FT : Comparison of MT-MFS vs Cube
Before PB-correction
After PB-correction
IC10 Dwarf Galaxy :
Spectral Index across C-Band.
50% of PB
MT-MFS : Result of wide-band PB-correction after MT-MS-MFS.
Cube : Spectral-index map made by PB-correcting single-SPW images smoothed to the lowest resolution.
Any post-deconvolution PB-correction assumes that the primary-beam does not vary / rotate during the observation.
       => Dynamic range limit of 10^4 ~ 10^5
       => Valid within ~HPBW (depends on dynamic-range)

---
Example with MT-MFS : Comparison of FT vs WB-A-Proj
FT +MT-MFS : Model freq-dependence in minor cycle. WBAProj + MT-MFS : Minor-cycle sees only sky spectrum Ignore time-variability Account for time-variability Post-deconvolution wideband pbcor
RMS : 40 uJy
RMS : 150 uJy
All sources 1 Jy, alpha=-0.5 . Located at PB gains : 0.98, 0.81, 0.60, 0.16, 0.023
Average PB contour levels : 0.5, 0.1, 0.02 . EVLA L-Band D-config simulation (6 hours)
I = 1.01
a = -0.47
I = 0.875
a = +0.35
I = 1.06
a = -0.16
I = 1.02
a = -0.50
I = 1.001
a = -0.507
I = 0.995
a = -0.482
I = 1.018
a = -0.455
I = 1.012
a = -0.505

---
MT-MFS with A-Projection (no conjugate PBs)
Minor Cycle sees spectrum of Sky x PB x PB => Needs more terms in the Taylor polynomial...
        N-Terms = 2 N-Terms = 3
Dominant errors are from the source at 15% of the PB : Steep PB gradient ? Reaching null of high-freq PB ? Inaccurate gridding-convolution functions ? Insufficient N-Terms ?

---
MT-MFS with WB-AProj : Field-of-View Limits ?
Source was simulated at PB levels : 0.11, 0.16, 0.23, 0.31
MT-MFS with n-terms = 2
Artifacts disappear at ~ 20% PB ( in this simulation )
PB Gain vs Angular Distance from center
Corrected Stokes I / Spectral Index for the 4 positions...
PB : 0.11 0.16 0.23 0.31
FT : 1.09/-0.12 , 1.06/-0.32 , 1.05/-0.38 , 1.04/-0.43
WBAP : 0.91/-0.6 , 0.99/-0.45 , 1.004/-0.506, 1.006/-0.505

---
3C286 field EVLA L-Band : MT-MFS with FT vs WBAProj
MT-MFS with 4 terms (required because of 3C286). Theoretical rms : 60 uJy
    FT : 0.4 - 0.8 mJy (earlier, 80uJy with blcal) WBAProj : 0.5 - 1.3 mJy (but the spectrum is right ! )
Average PB contour levels : 0.5, 0.1, 0.02 . ( Need to make Stokes V image, to check Squint, etc.)

---
Summary + Future Work
Feasible Options :
- Cube imaging/deconv + post-deconvolution PB-correction per channel
     – Low dynamic-range, low resolution, small FOV → Always an option.
- MT-MFS + FT + post-deconvolution wideband PB-correction
     – Works for frequency-dependent effects but ignores all time-variability.
- MT-MFS with WB-A-Proj : Accounts for time and freq variability before minor cycle.
        .... still, work in progress...
Other ideas :
- Variant of 'Peeling' : model and subtract distracting sources via single-channel imaging. ( decide when to get rid of the source, and not try to reconstruct its flux correctly )
- Variant of MT-MFS : model and solve for residual time and frequency variability in the minor cycle ( use time/freq basis functions instead of Taylor-polynomials)
     Future Work : Wide-Band Mosaics ( MT-MFS + FT or WB-A-Projection )